Collect all Needed Documentation - Needed information from the Engineer includes

C - Construction drawings

- General Notes to be aware of

- Plan (looking down) or elevations (Looking at the side)

- Antenna orientation, schedule, types and locations to install

- Antenna details (weights, specs, mounts based on structure)

- Equipment plan(how things are oriented)

- Generator or battery backup specifications and details

- Cable and Ice bridge wave guide cable tray details

- GPS details (facing)

E - Electrical Drawings are electrical

- General Notes

- Electrical Plan

- Equipment Utility Plan

- Power protection cabinet - panel schedule

- One line diagram for power and backhaul

G – Grounding Plan Drawings are grounding

- Grounding Details

S Structural Drawings if project is larger with specific structural needs

Review all information and build take off notes from CDs

Copy items to a spread sheet and Assign a cost to each item on the Take Off notes

Labor cost Break or RF, Civil, Electrical and Crane for unique rates

Materials

Crane

Travel Expenses (transportation mileage, tolls, parking)

(Example: 10trips x $60 pr/trip add 40% margin)

Add Margin for profit and overhead

Total posted direct expenses

Calculate Man days to assign needed Overhead Expense

Calculate expected margin